## data
RowIndex | Test Name | Test Number | UUT Part Number | Last Test Number | Test Type | Test Description | Test Setup: Power | Test Setup: Stimuli | Test Setup: Measurement | Image 1 | Image 2 | Image 1 Caption | Image 2 Caption | Signal Pin | Instrument | Signal Pin | Instrument Accuracy | Parameter | Lower Limit | Target Value | Upper Limit | Units | In Tolernace: Next Step | In Tolerance: Adjust | In Tolerance: Replace | OOT High: Next Step | OOT High: Adjust | OOT Hight: Replace | OOT Low: Next Step | OOT Low: Adjust | OOT Low: Replace | OOT High and Unable to Adjust: Next Step | OOT High and Unable to Adjust: Replace | OOT Low and Unable to Adjust: Next Step | OOT Low and Unable to Adjust: Replace | dataKey
2 | +V Bus Short Circuit Test | T1 | 04A-005 | N/A | STATIC | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | / | / | Click or tap here to enter text. | Click or tap here to enter text. | TP# | Click or tap here to enter text. | TP# | Click or tap here to enter text. | Click or tap here to enter text. | LL | TV | UL | UNITS | Test # | Click or tap here to enter text. | Click or tap here to enter text. | Test # | Click or tap here to enter text. | Click or tap here to enter text. | Test # | Click or tap here to enter text. | Click or tap here to enter text. | Test # | Click or tap here to enter text. | Test # | Click or tap here to enter text. | 20221121214945

## log
log